## 1. Introduction:

This document outlines the system architecture for the post-knee replacement gait analysis project using video-based input. The system leverages deep learning approach to LSTM to analyze gait parameters from MOV file-based input. The architecture and data flow diagrams illustrate the key components and processing pipelines.

## 2. System Architecture:

Fig 1 - Architecture diagram

Components of Architecture

- Data Collection:

  - MOV files recorded under controlled conditions

  - Standardized camera setups for capturing patient gait

- Data Ingestion & Preprocessing:

  - Frame extraction from MOV files

  - Noise reduction and image enhancement

  - Skeleton detection using MediaPipe

- Feature Extraction & Model Processing:

  - Spatial feature extraction using HSV color segmentation

  - Temporal pattern analysis using LSTM

  - Key gait parameter computation (e.g., stride length, cadence)

- Post-Processing & Evaluation:

  - Smoothing of extracted gait features

  - Comparison with clinical gait benchmarks

  - Identification of gait abnormalities

- Visualization & Reporting:

  - Dashboard for displaying gait metrics

  - Progress tracking for post-surgery rehabilitation

## 3. Data Flow Diagram:

Fig 2 - Data Flow diagram

- Raw Video Input (MOV files) → Frame Extraction

- Preprocessing (Noise Reduction, Normalization, Augmentation)

- Pose Estimation (MediaPipe) → Key Points Extraction

- Feature Extraction (HSV color segmentation) → Spatial Feature Representation

- Temporal Analysis (LSTM) → Motion Sequence Processing

- Gait Parameter Calculation → Stride Length, Joint Angles, Cadence

- Evaluation & Comparison → Clinical Benchmarking

- Visualization & Reporting → Gait Recovery Insights

## 4. Conclusion:

The architecture integrates deep learning techniques for video-based gait analysis, providing a non-invasive, accurate, and efficient way to assess post-knee replacement recovery. Future improvements include real-time analysis, higher-resolution tracking, and expanded datasets for increased accuracy.